## Alarm safety survey

Please, rate the following risks:

| Nuisance alarms How risky are the following conditions? | Not important | Important | Very important |
| --- | --- | --- | --- |
| The sound disrupts the user's attention |  |  |  |
| Users get used to the sound alarm, gradually disregard the alarms |  |  |  |
| Users are liable to shut the sound temporarily off, and then forget to enable it |  |  |  |
| Unnoticed alarm conditions The users might fail to notice the existence of alarm conditions. Alarm conditions might be unnoticed because of the following reasons. How risky are these conditions?: | Not important | Important | Very important |
| The alarm system is turn off |  |  |  |
| The alarm limits are set to extreme values |  |  |  |
| The sound is muted, either temporarily or by mistake |  |  |  |
| Speaker malfunctioning |  |  |  |
| Visual backup does not exist, or is unnoticeable |  |  |  |
| The user is not familiar with the system alarms |  |  |  |
| Recognition errors The user might not get the proper sense of emergency. How risky are the following situations? | Not important | Important | Very important |
| Sound melodies by 60601-1-8 are misleading |  |  |  |
| Visual alarms of emergency are not well distinguished from visual indications used for normal monitoring. |  |  |  |
| The user is not familiar with the system alarms in different alarm conditions |  |  |  |
| Troubleshooting errors The user might fail to identify the source for the alarm. How risky this may be in practice? | Not important | Important | Very important |
| The user detects only part of the parameters that raise the alarm condition |  |  |  |